## Slide 1
A6 |  |  | 
A5 |  |  | 
A4 | … |  | 
A3 | B3 |  | 
A2 | B2 |  | 
A1 | B1 |  | 
3D Printed Racks [6x4]
Coordinates
Scan Order
6 |  |  | 
5 |  |  | 
4 | … |  | 
3 | 9 |  | 
2 | 8 |  | 
1 | 7 |  | 
QR
Notes: 1. First scan the rack.
2. Then continue by scanning the pools from the A1 and follow the ”Scan Order” (also present on the screen of the app) (LEAVE 24. empty)

## Slide 2
Plates [8x12]
A6 |  |  | 
A5 |  |  | 
A4 | … |  | 
A3 | B3 |  | 
A2 | B2 |  | 
A1 | B1 |  | 
A6 |  |  | 
A5 |  |  | 
A4 | … |  | 
A3 | B3 |  | 
A2 | B2 |  | 
A1 | B1 |  | 
A6 |  |  | 
A5 |  |  | 
A4 | … |  | 
A3 | B3 |  | 
A2 | B2 |  | 
A1 | B1 |  | 
A6 |  |  | 
A5 |  |  | 
A4 | … |  | 
A3 | B3 |  | 
A2 | B2 |  | 
A1 | B1 |  | 
QR
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
1
2
3
4
Notes: Scan the plate
Scan the racks and use the robot to transfer the racks to the plates

## Slide 3
QR
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
B6 | 
B5 | 
B4 | 
B3 | 
B2 | 
B1 | 
A6 | 
A5 | 
A4 | …
A3 | C3
A2 | C2
A1 | C1
Plates [8x12]
1
2
3
4
A

## Slide 4
Plates [8x16]
A1 |  |  |  |  |  |  |  |  |  |  | A12
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
H1 |  |  |  |  |  |  |  |  |  |  | x
A1 |  |  |  |  |  |  |  |  |  |  | A12
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
H1 |  |  |  |  |  |  |  |  |  |  | x
A1 |  |  |  |  |  |  |  |  |  |  | A12
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
H1 |  |  |  |  |  |  |  |  |  |  | x
A1 |  |  |  |  |  |  |  |  |  |  | A12
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
 |  |  |  |  |  |  |  |  |  |  | x
H1 |  |  |  |  |  |  |  |  |  |  | x
A
B
1
2
Notes: Use 4 plates arranged like this to transfer them to the 384 pcr plate.

## Slide 5
A1 | A1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
A1 | A1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | neg
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | x
 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | pos
PCR Plates (Rack Coordinates) [16x24]
1
2
The 96 plates are placed on the 384 with double spacing in the following order: Blue=1(A1), Red=2(A2), Yellow=3(B1), Green=4(B2)
A
B
Notes: Use previous arrangement and transfer the plates A1, A2, B1, B2 to the pcr plate.

## Slide 6
Notes: Upload the results.csv